## Slide 1: PM Activities
UG Network

## Slide 2
Primary Findings
Overloaded core capacity
Core identification problem
Extensive numbers of damaged cores
Splicing sleeves out of tray
Inappropriate core latching
GCO frame found on critical situation
Multiple operation on single tube
GCO body condition is not suitable

## Slide 3
Snaps of vulnerable POCs
Jalkhabar Old POC New GCO
BanglaCat
Mango

## Slide 4
Snaps of vulnerable POCs(Cont..)
Gulshan-1 DCC Market
Gulshan BTCL New
Birdem Old POC New GCO

## Slide 5
Snaps of vulnerable POCs(Cont..)
Pubali Bank Old POC Old GCO
Uday Tower
Labaid Old POC

## Slide 6
On average 10.00% damage core of listed 40 POCs...
Damaged Core Status