## Rajshahi
SL NO. | Client Name | District | Division | VLAN/ LINK ID | Interrupt | Reason | RFO | Date | Duration | O&M Feedback
1 | Netbazar Chapai | Chapainawabgonj | Rajshahi | Vlan: 1798 ,1741 | 1 | BW Problem | tx problem | 2016-12-29 19:39 | 2.2 | No Problems in Transmission Path
2 | Net-Bazar Natore | natore | Rajshahi | netb_141116_03_ib, Vlan - 2213 | 1 | BW Problem | tx problem | 2016-12-22 17:50 | 3 | No Problems in Transmission Path
3 | Stargate bogra | Bogra | Rajshahi | 1807 | 1 | Link Down | Device problem | 2016-12-16 14:35 | 3.1186 | BOSJP04 Router Hang. After Device change link restored. TT no-264364
4 | RANKSIT (Rajshahi) | rajshahi | Rajshahi | vlan 2243, ritt_281116_05_ib | 1 | Link Down | Device problem | 2016-12-12 16:59 | 18.3406 | No Problem was in NTTN Device, IIG requested us to change the port but as we were getting MAC from both end so we didn't change the port
5 | HN Telecom Naogao | naugaon | Rajshahi | hnte_060916_04_nb,2079 | 1 | Link Down | Configuration Problem | 2016-12-07 17:55 | 4.4847 | TT No-262783, Layer 2 circuit problem. After Re-configuring layer 2 circuit link restored
6 | IP Communication | bogra | Rajshahi | Vlan: 107, vrgo_300414_05_ib | 1 | Link Down | OH problem | 2016-12-05 15:47 | 21.6547 | Last mile fiber cut found. SCL team restored last mile fiber. TT no-262366
7 | Netbazar Nator | natore | Rajshahi | Vlan - 2214 | 1 | GGC Problem | Client end problem | 2016-12-01 22:43 | 63.7336 | Client End Problem

## Rangpur
SL NO. | Client Name | District | Division | VLAN/ LINK ID | Interrupt | Reason | RFO | Date | Duration | O&M Feed back
1 | Maya Cyber world (Rangpur) | rangpur | Rangpur | macw_070416_12_ib; 1784 | 1 | IIG: Service Interruption: BW Fall | No Problem found at SCL end | 2016-12-29 12:47 | 0.0261 | No problem found at scl tx end
2 | HN Telecom (Dinajpur) and Gaibandha Online | dinajpur, gaibandha | Rangpur | hnte_060916_05_nb, Vlan - 2080 and gaon_260416_02_ib, Vlan - 1804 | 1 | IIG: Service Interruption: BW Fall | UG Backbone issue | 2016-12-28 16:17 | 8.7956 | Capacity issue problem by 10G backbone down
3 | Open Network (Thakurgoan) and Maya Cyber world (Rangpur) | rangpur | Rangpur | opne_121015_01_ib, Vlan - 1571 and macw_070416_12_ib, Vlan - 1784 | 1 | IIG: Service Interruption: BW Problem | UG Backbone issue | 2016-12-28 15:16 | 9.5503 | Capacity issue problem by 10G backbone down
4 | Maya Cyber Kurigram | kurigram | Rangpur | VLAN:2185 | 1 | IIG: Service Interruption: BW Problem | No Problem found at SCL end | 2016-12-25 19:23 | 0 | No problem found at scl tx end
5 | Maya Cyber world (Rangpur) | rangpur | Rangpur | macw_070416_12_ib; VLAN:1784 | 1 | IIG: Service Interruption: BW Fall | No Problem found at SCL end | 2016-12-24 16:49 | 0.0003 | No problem found at scl tx end
7 | MAYA CYBER WORLD HAKIMPUR Dinajpur | dinajpur | Rangpur | VLAN:2216 | 1 | IIG: Service Interruption: BW Problem | No Problem found at SCL end | 2016-12-24 10:45 | 0.0342 | No problem found at scl tx end
8 | MAYA Cyber world Kurigram | kurigram | Rangpur | VLAN:2185 | 1 | IIG: Service Outage: Link Down | Configuration Problem | 2016-12-24 09:44 | 0.0389 | LSP path link down
9 | ICC Communication (Nilphamary) | nilphamary | Rangpur | Vlan: 1914 ,2071 | 1 | IIG: Service Interruption: BW Problem | UG Backbone issue | 2016-12-19 22:41 | 0.25 | Capacity issue problem by 10G backbone down
10 | MAYA CYBER WORLD SAIDPUR | saidpur | Rangpur | 2227 | 1 | IIG: Service Outage: Link Down | Client end problem | 2016-12-16 15:53 | 0 | No problem found at scl tx end
11 | Maya Cyber Rangpur | rangpur | Rangpur | macw_070416_12_ib; VLAN:1784 | 1 | IIG: Service Interruption: BW Problem | Client end problem | 2016-12-16 12:02 | 0.0003 | No problem found at scl tx end
12 | MAYA_CYBER_WORLD_DINAJPUR_HAKIMPUR | dinajpur | Rangpur | 2216 | 1 | IIG: Service Outage: Link Down | OH problem | 2016-12-15 14:32 | 0.9983 | LSP path link down
13 | Open network thakurgaon | thakurgaon | Rangpur | Vlan: 1709, opne_010216_19_ib | 1 | IIG: Service Interruption: Packet loss | No Problem found at SCL end | 2016-12-13 03:01 | 0 | No problem found at scl tx end
15 | Maya Cyber world (Rangpur) | rangpur | Rangpur | macw_070416_12_ib | 1 | IIG: Service Outage: Link Down | No Problem found at SCL end | 2016-12-10 15:10 | 0.0031 | No problem found at scl tx end
16 | Maya Cyber World (Dinajpur) Hakimpur | dinajpur | Rangpur | VLAN:2216 | 1 | IIG: Service Outage: Link Down | Logical Port Hang | 2016-12-09 14:43 | 10.2647 | LSP path link down
17 | Open Network Solution (Thakurgaon) | thakurgaon | Rangpur | VLAN:1571 | 1 | IIG: Service Outage: Link Down | Client end problem | 2016-12-09 10:40 | 0 | LSP path link down
18 | Maya Cyber World (Dinajpur) | dinajpur | Rangpur | vlan:1775 | 1 | IIG: Service Outage: Link Down | Configuration Problem | 2016-12-09 07:25 | 4.8314 | LSP path link down
19 | Open Network Solution (Thakurgaon) | thakurgaon | Rangpur | opne_131116_02_ib, Vlan-2212 | 1 | IIG: Service Interruption: Packet loss | No Problem found at SCL end | 2016-12-08 21:07 | 0 | No problem found at scl tx end
20 | Open Network Solution (Thakurgaon) | thakurgaon | Rangpur | opne_121015_01_ib; Vlan - 1571 and 2211 | 1 | IIG: Service Outage: Link Down | OH problem | 2016-12-08 16:33 | 0.3333 | LSP path link down
21 | Open Network Solution (Thakurgaon-2) | thakurgaon | Rangpur | VLAN-2211 | 1 | IIG: Service Outage: Link Down | OH problem | 2016-12-07 20:46 | 26.9514 | No problem found at scl tx end
22 | Maya Cyber World (Dinajpur) and Open Network Solution (Thakurgaon) and Stargate (Rangpur) | Rangpur, dinajpur, thakugaon | Rangpur | macw_310316_05_ib,1775 and opne_121015_01_ib, 1571 and star_100516_15_nb,1816 | 1 | IIG: Service Outage: Link Down | OH problem | 2016-12-07 17:12 | 27.9583 | LSP path link down
23 | ICC Communication (Nilphamay) | nilphamary | Rangpur | iccc_070616_06_nb, vlan - 1914 and 2071 | 1 | IIG: Service Outage: Link Down | OH problem | 2016-12-06 14:07 | 9.5819 | LSP path link down
24 | Open Network Solution (BIRAMPUR) | dinajpur | Rangpur | opne_170615_02_ib, vlan - 959 | 1 | IIG: Service Interruption: BW Fall | No Problem found at SCL end | 2016-12-06 14:07 | 0 | No problem found at scl tx end
26 | Maya Cyber World (Rangpur) | rangpur | Rangpur | macw_070416_12_ib | 1 | IIG: Service Interruption: BW Problem | No Problem found at SCL end | 2016-12-04 12:47 | 1.7067 | No problem found at scl tx end
28 | Open Network Solution (Thakurgaon) | thakurgaon | Rangpur | opne_131116_02_ib, Vlan-2212 | 1 | IIG: Service Interruption: GGC Problem | No Problem found at SCL end | 2016-12-03 22:05 | 3.1958 | No problem found at scl tx end
29 | Open Network Solution (Lalmonirhat) and Open Netwrok (DINAJPUR) and Open Netwrok (Rangpur) | Rangpur, dinajpur, thakugaon | Rangpur | opne_230915_04_ib, Vlan - 1549 opne_200815_02_ib, Vlan - 1524 open_300616_06_ib, Vlan - 1946 | 1 | IIG: Service Outage: Link Down | OH problem | 2016-12-03 06:48 | 2.0833 | LSP path link down
30 | Maya Cyber World (Rangpur) | rangpur | Rangpur | macw_070416_12_ib | 1 | IIG: Service Interruption: BW Problem | No Problem found at SCL end | 2016-12-02 14:51 | 3.5281 | No problem found at scl tx end

## Khulna
SL NO | Client Name | District | Division | VLAN/ LINK ID | Interrupt | Reason | RFO | Date | Duration | O & M Feedback
1 | S. S. Ali and Co. (Khulna) | Khulna | Khulna | ssali_270616_01_ib, vlan - 1940 | 1 | IIG: Service Interruption: BW Fall | Logical Port Hang | 2016-12-27 12:54 | 2.1972 | Mainly problem was at client end MC.As per clients request we reset the logical port only.
2 | SS_ALI_CO | Khulna | Khulna | ssali_270616_02_ib | 1 | Link Down | No Problem found at SCL end | 2016-12-27 03:08 | 0 | No Problem found at SCL end
3 | Meta4 Khulna | Khulna | Khulna | VLAN: 1676 | 1 | IIG: Service Interruption: BW Problem | No Problem found at SCL end | 2016-12-24 10:52 | 0 | No Problem found at SCL end
4 | Bright Jhenaidah | Shatkhira | Khulna | brit_130116_01_ib, vlan - 1540 | 1 | IIG: Service Interruption: BW Fall | High loss | 2016-12-24 10:45 | 3.7036 | High loss at our Tx path
5 | Stargate Noapara | jessor | Khulna | star_070915_04_ib,1526 | 1 | IIG: Service Outage: Link Down | Client end problem | 2016-12-12 12:39 | 0.9147 | Client end problem.client last mile down
6 | Bright (Jhenaidaha) | jeinaidha | Khulna | brit_130116_01_ib, vlan - 1540 | 1 | IIG: Service Interruption: Packet loss | Third party problem | 2016-12-10 10:46 | 9.8472 | No problem found at operations end,problem solved after reroute traffic to another upstream which is done by IIG team
7 | Bright (JHINAIDAH) | jeinaidha | Khulna | brit_130116_01_ib, vlan - 1540 | 1 | IIG: Service Interruption: BW Problem | No Problem found at SCL end | 2016-12-08 18:57 | 0 | No Problem found at SCL end
8 | Bright (shatkhira) | Shatkhira | Khulna | brit_130116_02_ib; 947 | 1 | IIG: Service Interruption: Packet loss | RFO Pending | 2016-12-08 18:57 | 1.4814 | we didn't found such type TT in our Khulna Zone at the said time & we didn't do any rectification work.

## Barishal
SL NO. | Client Name | District | Division | VLAN/ LINK ID | Interrupt | RFO | Date | Duration | O&M Feed back
1 | Eurotel Barishal | barishal | barishal | VLAN:1505 | 1 | No Problem found at SCL end | 2016-12-29 19:15 | 0 | No Problem found at SCL end
2 | AR Enterprise Barishal | potuakhali | barishal |  | 1 | Client end problem | 2016-12-25 18:49 | 0 | Client last mile power problem
3 | AR Enterprise Barishal | barishal | barishal | VLAN: 1938 | 1 | No Problem found at SCL end | 2016-12-23 11:58 | 0.0003 | Client last mile power problem
4 | A.R enterprize | barishal | barishal | aren_260616_04_ib; 1938 | 1 | Client end problem | 2016-12-22 12:52 | 0.0053 | Client last mile power problem
5 | World Bangla Telecom(Gorunodi) | barishal | barishal | Vlan: 2129, 2130 | 1 | No Problem found at SCL end | 2016-12-19 21:35 | 0.0025 | No Problem found at SCL end
6 | Stargate (Madaripur) | madaripur | barishal | vlan: 2083, 2084 | 1 | No Problem found at SCL end | 2016-12-13 19:40 | 0 | No Problem found at SCL end

## Mymensing
SL NO. | Client Name | District | Division | VLAN/ LINK ID | Interrupt | Reason | RFO | Date | Duration
2 | Anik Computer Mymensingh | Mymensing | Mymensing | anik_300915_01_ib ,vlan:964 | 1 | Link down | TX path | 2016-12-06 10:51 | 2.3

## Sylhet
SL NO. | Client Name | Division | VLAN/ LINK ID | Interrupt | Reason | RFO | Date | Duration
1 | SOL-BD | Syhlet | vlan: 1521 | 1 | link down | tx problem | 2016-12-03 11:15 | 0.3983