## Sheet1
Category | Definition | Severity | Example
EMW | Routers & Switches & Servers & MUX Devices Unreachable but traffice not hampered | Medium | For some internal Management Network issue, Devices may be unreachable
EMW | Client Port Shifting as fault port | High | Suppose, Client's traffic running but they are facing trouble and after Tshooting found Port poblem. That time need to change port.
EMW | Routers & MUX devices Card faulty | High | Sometimes without any previuos alarm device's Card goes Faulty position, need to change Card. That time Clients service will be hamperd with conncted Faulty Card
EMW | Upstream Shifting | High | Suppose one of our Most capacity goes down but there have an option for increase same capacity of our other location device.But for doing this we need to increase P2P capacity on new device. For this need to physically port connected and configue device.
EMW | Device Teamparature or card Teamparature increase | High | if any device's Teamparature or Spectific Card treamparature increasd and Card goes down, need to shift connected clients to another card or need to reboot problematic card or shift problematic card.
EMW | Device Failure ( Router & Switch & MUX ) | High | if any time devices goes down and not power on automatically, need to change device & need to shift clients to new installed device & need to reconfiure for all connected clients.
PMW | Packet Loss | Medium | Clients are getting P2P Packet loss. There have no logical problem, for Tshotting need to change port. During change port and check need to some down time.
PMW | P2P Link Capacity upgradation | Medium | If any user's BW consumption almost full, need to upgrade port from 1-Gig to 2Gig or 10 Gig port
PMW | Device (Router & MUX) Capacity Upgradation | Medium | For upgrading device capacity need to installation New Card/New Device
PMW | Data Center Shifting | Medium | For relocate device in different location and accordingly to Management Decesion may need to shift device from existing location to new location
PMW | Cable rearrangement and infrastrutal port connectivity | Medium | For change problematic cable or arangement cable and port change for internal device connectivity.